## Duddon
Sample date | Sample time | Sample result | Unit
2025-02-26 | 11:55 | 0.57 | mg/l
2025-03-06 | 9:55 | 0.66 | mg/l
2025-03-14 | 9:14 | 0.57 | mg/l
2025-04-11 | 11:06 | 0.19 | mg/l
2025-05-16 | 10:36 | 0.21 | mg/l
2025-06-17 | 11:54 | 0.18 | mg/l
2025-07-17 | 10:59 | 0.39 | mg/l
2025-08-11 | 11:40 | 0.22 | mg/l
2025-10-13 | 11:22 | 0.32 | mg/l
2025-10-20 | 15:01 | 0.3 | mg/l
2025-11-26 | 12:11 | 0.34 | mg/l
2025-12-10 | 11:08 | 0.24 | mg/l
2026-01-20 | 11:02 | 0.4 | mg/l
2026-02-13 | 9:48 | 0.46 | mg/l
2026-03-05 | 12:26 | 0.34 | mg/l
2026-05-01 | 11:15 | 0.62 | mg/l
2026-05-21 | 10:10 | 1.18 | mg/l

## Tarvin
Sample date | Sample time | Sample result | Unit
2025-02-26 | 11:23 | 0.31 | mg/l
2025-03-06 | 10:16 | 0.0735 | mg/l | LT
2025-04-11 | 10:39 | 0.22 | mg/l
2025-05-01 | 10:04 | 0.26 | mg/l
2025-05-16 | 10:02 | 0.22 | mg/l
2025-06-17 | 11:14 | 0.5 | mg/l
2025-07-17 | 11:21 | 0.25 | mg/l
2025-08-11 | 11:07 | 0.24 | mg/l
2025-09-11 | 10:56 | 0.19 | mg/l
2025-10-20 | 13:20 | 0.07 | mg/l
2025-11-26 | 11:31 | 0.12 | mg/l
2025-12-10 | 10:48 | 0.0735 | mg/l | LT
2026-01-20 | 10:41 | 0.06 | mg/l
2026-02-13 | 9:03 | 0.063 | mg/l | LT
2026-02-26 | 7:00 | 0.1 | mg/l
2026-03-05 | 11:57 | 0.063 | mg/l | LT
2026-04-22 | 10:57 | 0.08 | mg/l
2026-05-15 | 10:57 | 0.15 | mg/l
Note: When reviewing the data, please note that all laboratory methods have a Limit of Detection (LOD) which means that the method cannot read lower or higher than a certain value. Any results marked as less than the LOD means that the result is lower than the lowest quantifiable value the method can detect. In this dataset, results less than the LOD are marked ‘LT’ and results greater than the calibration range of the method are marked ‘GT’.

## Utkinton
Sample date | Sample time | Sample result | Unit
2025-01-14 | 11:15 | 0.47 | mg/l
2025-03-04 | 10:13 | 0.54 | mg/l
2025-03-06 | 9:34 | 0.44 | mg/l
2025-04-11 | 12:03 | 1.07 | mg/l
2025-05-16 | 11:20 | 1.41 | mg/l
2025-06-17 | 12:17 | 0.79 | mg/l
2025-07-17 | 10:34 | 0.89 | mg/l
2025-08-11 | 12:08 | 0.66 | mg/l
2025-09-11 | 15:36 | 0.64 | mg/l
2025-10-20 | 10:32 | 0.87 | mg/l
2025-12-04 | 12:41 | 1.06 | mg/l
2025-12-10 | 12:26 | 0.49 | mg/l
2026-01-30 | 10:56 | 0.2 | mg/l
2026-02-13 | 10:07 | 0.24 | mg/l
2026-04-09 | 10:20 | 0.78 | mg/l
2026-05-01 | 11:45 | 0.44 | mg/l
2026-05-15 | 12:06 | 0.56 | mg/l