## Tab 1
Date | Category | Case Reason | Interruption Start | Interruption End | Location_street
04/02/2020 | Water Supply | Low Pressure |  |  | PENNY BRIDGE LANE, URMSTON
28/04/2020 | Water Supply | No Supply Unplanned | 28/04/2020 10:58:00 | 28/04/2020 12:30:00 | REIGATE ROAD, URMSTON
18/10/2020 | Water Quality | Discoloured Water |  |  | HODNETT AVENUE, URMSTON
20/10/2020 | Water Quality | Discoloured Water |  |  | CHASSEN AVENUE, URMSTON
17/12/2020 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
16/01/2021 | Leakage | Leak on Public |  |  | MANCHESTER ROAD, CARRINGTON
21/02/2021 | Water Supply | No Supply Unplanned | 21/02/2021 12:35:00 | 21/02/2021 13:30:00 | MILLFORD AVENUE, URMSTON
27/02/2021 | Leakage | Leak on Public |  |  | MORRIS GROVE, URMSTON
15/03/2021 | Water Supply | No Supply Unplanned | 15/03/2021 14:54:00 | 15/03/2021 22:45:00 | FLIXTON ROAD, URMSTON
15/03/2021 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
17/03/2021 | Water Supply | No Supply Unplanned | 17/03/2021 13:20:00 | 17/03/2021 13:50:00 | FLIXTON ROAD, URMSTON
18/03/2021 | Water Supply | No Supply Unplanned | 18/03/2021 12:00:00 | 18/03/2021 13:10:00 | FLIXTON ROAD, URMSTON
22/03/2021 | Leakage | Leak on Public |  |  | MERWELL ROAD, URMSTON
24/03/2021 | Leakage | Leak on Public |  |  | KESWICK AVENUE, URMSTON
26/03/2021 | Water Supply | No Supply Planned |  |  | ROTHIEMAY ROAD, URMSTON
31/03/2021 | Leakage | Leak on Public |  |  | ALDERLEY ROAD, URMSTON
04/04/2021 | Leakage | Leak on Public |  |  | THE CRESCENT, URMSTON
07/04/2021 | Leakage | Leak on Public |  |  | IRLAM ROAD, URMSTON
08/04/2021 | Leakage | Leak on Public |  |  | OVERDALE CRESCENT, URMSTON
09/05/2021 | Leakage | Leak on Public |  |  | CRAIG AVENUE, URMSTON
27/05/2021 | Leakage | Leak on Public |  |  | BROOK ROAD, URMSTON
07/06/2021 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
14/06/2021 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
18/06/2021 | Leakage | Leak on Public |  |  | ROSLYN AVENUE, URMSTON
19/06/2021 | Leakage | Leak on Public |  |  | MANCHESTER ROAD (MU WAINHOMES (N W) LTD) SITE, CARRINGTON
30/06/2021 | Leakage | Leak on Public |  |  | BOSDIN ROAD EAST, URMSTON
02/07/2021 | Leakage | Leak on Public |  |  | ISHERWOOD ROAD, CARRINGTON
21/07/2021 | Leakage | Leak on Public |  |  | AMBLESIDE ROAD, URMSTON
01/09/2021 | Leakage | Leak on Public |  |  | PARSONAGE ROAD, URMSTON
20/10/2021 | Water Supply | Low Pressure |  |  | ROTHIEMAY ROAD, URMSTON
26/10/2021 | Leakage | Leak on Public |  |  | BROOK ROAD, URMSTON
05/12/2021 | Leakage | Leak on Public |  |  | ROTHIEMAY ROAD, URMSTON
06/12/2021 | Water Supply | No Supply Unplanned | 06/12/2021 10:37:00 | 06/12/2021 11:30:00 | ROTHIEMAY ROAD, URMSTON
14/12/2021 | Leakage | Leak on Public |  |  | LONGWORTH CLOSE, URMSTON
15/12/2021 | Water Supply | Low Pressure |  |  | SANDOWN GARDENS, URMSTON
15/12/2021 | Leakage | Leak on Public |  |  | LONGWORTH CLOSE, URMSTON
22/12/2021 | Leakage | Leak on Public |  |  | FISHERMORE ROAD, URMSTON
28/12/2021 | Leakage | Leak on Public |  |  | BOSDIN ROAD WEST, URMSTON
08/01/2022 | Leakage | Leak on Public |  |  | MORRIS GROVE, URMSTON
13/01/2022 | Leakage | Leak on Public |  |  | DEVON ROAD, URMSTON
14/01/2022 | Leakage | Leak on Public |  |  | WIBBERSLEY PARK, URMSTON
21/01/2022 | Leakage | Leak on Public |  |  | FISHERMORE ROAD, URMSTON
23/01/2022 | Leakage | Leak on Public |  |  | AMBLESIDE ROAD, URMSTON
07/02/2022 | Leakage | Leak on Public |  |  | WYNDCLIFF DRIVE, URMSTON
01/03/2022 | Leakage | Leak on Public |  |  | RADCLIFFE PARK ROAD
15/03/2022 | Leakage | Leak on Public |  |  | STAMFORD ROAD, CARRINGTON
22/04/2022 | Water Supply | No Supply Unplanned | 22/04/2022 13:17:00 | 22/04/2022 14:10:00 | ROTHIEMAY ROAD, URMSTON
06/06/2022 | Water Supply | No Supply Unplanned | 06/06/2022 13:40:00 | 06/06/2022 13:55:00
10/06/2022 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
07/07/2022 | PMV / District Meter | Low Pressure |  |  | MANCHESTER ROAD, CARRINGTON
07/08/2022 | Leakage | Leak on Public |  |  | SHAWE ROAD, URMSTON
12/08/2022 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
14/08/2022 | Leakage | Leak on Public |  |  | WHITELAKE AVENUE, URMSTON
26/09/2022 | Leakage | Leak on Public |  |  | MILLFORD AVENUE, URMSTON
19/10/2022 | Leakage | Leak on Public |  |  | ACKERS LANE, CARRINGTON
08/11/2022 | Leakage | Leak on Public |  |  | PARSONAGE ROAD, URMSTON
07/12/2022 | Water Supply | No Supply Unplanned | 07/12/2022 14:35:00 | 07/12/2022 15:15:00 | SHAWE ROAD, URMSTON
09/12/2022 | Leakage | Leak on Public |  |  | MILLFORD AVENUE, URMSTON
09/12/2022 | Leakage | Leak on Public |  |  | STAMFORD ROAD, CARRINGTON
13/12/2022 | Water Supply | No Supply Unplanned | 13/12/2022 08:54:00 | 13/12/2022 09:08:00 | 5, STAMFORD ROAD, CARRINGTON
13/12/2022 | Water Supply | Low Pressure |  |  | MILLFORD AVENUE, URMSTON
19/12/2022 | Water Supply | Low Pressure |  |  | GOLDSWORTHY ROAD, URMSTON
24/12/2022 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
15/01/2023 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
12/02/2023 | Leakage | Leak on Public |  |  | UPLANDS ROAD, URMSTON
14/02/2023 | Leakage | Leak on Public |  |  | WHITELAKE AVENUE, URMSTON
08/03/2023 | Leakage | Leak on Public |  |  | CARRINGTON ROAD, URMSTON
20/03/2023 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
13/04/2023 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
13/04/2023 | Leakage | Leak on Public |  |  | DELAMERE ROAD, FLIXTON
13/04/2023 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
13/04/2023 | Leakage | Leak on Public |  |  | MILLFORD AVENUE, URMSTON
14/04/2023 | Water Supply | No Supply Unplanned | 14/04/2023 01:20:00 | 14/04/2023 14:30:00 | FLIXTON ROAD, URMSTON
14/04/2023 | Leakage | Leak on Public |  |  | IRLAM ROAD, URMSTON
05/05/2023 | Leakage | Leak on Public |  |  | HIGHBURY AVENUE, URMSTON
08/05/2023 | Leakage | Leak on Public |  |  | BOWFELL ROAD, URMSTON
16/05/2023 | Leakage | Leak on Public |  |  | MANCHESTER ROAD, CARRINGTON
25/05/2023 | Leakage | Leak on Public |  |  | IRLAM ROAD, URMSTON
31/05/2023 | Leakage | Leak on Public |  |  | THORNE AVENUE, URMSTON
01/06/2023 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
12/06/2023 | Leakage | Leak on Public |  |  | CARRINGTON ROAD, URMSTON
13/06/2023 | Leakage | Leak on Public |  |  | WINDSOR AVENUE, URMSTON
23/06/2023 | Water Supply | Low Pressure |  |  | MANCHESTER ROAD, CARRINGTON
25/06/2023 | Leakage | Leak on Public |  |  | WYNDCLIFF DRIVE, URMSTON
10/07/2023 | Leakage | Leak on Public |  |  | HAMPSTEAD AVENUE, URMSTON
01/08/2023 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
08/09/2023 | Water Quality | Discoloured Water |  |  | ALDERLEY ROAD, URMSTON
11/09/2023 | Water Quality | Discoloured Water |  |  | ALDERLEY ROAD, URMSTON
04/10/2023 | Leakage | Leak on Public |  |  | MAYPOLE CLOSE, CARRINGTON
10/10/2023 | Leakage | Leak on Public |  |  | AMBLESIDE ROAD, URMSTON
17/10/2023 | Leakage | Leak on Public |  |  | AMBLESIDE ROAD, URMSTON
18/10/2023 | Leakage | Leak on Public |  |  | GRANGE AVENUE, URMSTON
16/11/2023 | Leakage | Leak on Public |  |  | MANCHESTER ROAD, CARRINGTON
24/11/2023 | Leakage | Leak on Public |  |  | THE CRESCENT, URMSTON
25/11/2023 | Leakage | Leak on Public |  |  | CHASSEN ROAD, FLIXTON
28/11/2023 | Leakage | Leak on Public |  |  | CHASSEN ROAD, URMSTON
08/01/2024 | Leakage | Leak on Public |  |  | CHASSEN ROAD, URMSTON
15/01/2024 | Leakage | Leak on Public |  |  | BOWFELL ROAD, URMSTON
09/02/2024 | Leakage | Leak on Public |  |  | FLIXTON ROAD, FLIXTON
26/03/2024 | Leakage | Leak on Public |  |  | ROTHIEMAY ROAD, URMSTON
19/04/2024 | Leakage | Leak on Public |  |  | CONISTON ROAD, URMSTON
27/04/2024 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
09/06/2024 | Leakage | Leak on Public |  |  | WYNDCLIFF DRIVE, URMSTON
20/06/2024 | Leakage | Leak on Public |  |  | FLIXTON ROAD, FLIXTON
21/06/2024 | Water Supply | Low Pressure |  |  | FLIXTON ROAD, FLIXTON
02/08/2024 | Water Quality | Discoloured Water |  |  | WHITELAKE AVENUE, URMSTON
13/08/2024 | Leakage | Leak on Public |  |  | CLIFTON ROAD, URMSTON
16/08/2024 | Leakage | Leak on Public |  |  | CLIFTON ROAD, URMSTON
03/09/2024 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
07/09/2024 | Leakage | Leak on Public |  |  | DELAMERE ROAD, URMSTON
19/09/2024 | Leakage | Leak on Public |  |  | WHITEGATE PARK, URMSTON
27/09/2024 | Leakage | Leak on Public |  |  | WOODSEND ROAD SOUTH, URMSTON
30/10/2024 | Water Supply | No Supply Unplanned | 30/10/2024 10:30:00 | 30/10/2024 12:08:00 | MANCHESTER ROAD, CARRINGTON
28/11/2024 | Leakage | Leak on Public |  |  | PARSONAGE ROAD, URMSTON
28/11/2024 | Water Supply | No Supply Unplanned | 28/11/2024 15:45:00 | 28/11/2024 18:30:00 | PARSONAGE ROAD, URMSTON
19/01/2025 | Leakage | Leak on Public |  |  | IRLAM ROAD, URMSTON
19/01/2025 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
30/01/2025 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
17/02/2025 | Leakage | Leak on Public |  |  | IRLAM ROAD, URMSTON
17/02/2025 | Leakage | Leak on Public |  |  | WHITELAKE AVENUE, URMSTON
18/02/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
18/02/2025 | Water Supply | No Supply Unplanned | 18/02/2025 10:30:00 | 18/02/2025 13:20:00 | IRLAM ROAD, URMSTON
21/02/2025 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
21/03/2025 | Leakage | Leak on Public |  |  | THORNTON AVENUE, URMSTON
29/03/2025 | Leakage | Leak on Public |  |  | BROMLEY AVENUE, URMSTON
06/04/2025 | Water Quality | Discoloured Water |  |  | HASTINGS DRIVE, URMSTON
09/04/2025 | Leakage | Leak on Public |  |  | BLAIR AVENUE, URMSTON
30/04/2025 | Leakage | Leak on Public |  |  | OVERDALE CRESCENT, URMSTON
17/05/2025 | Leakage | Leak on Public |  |  | SHAWE ROAD, FLIXTON
23/05/2025 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
30/05/2025 | Leakage | Leak on Public |  |  | WOODSEND ROAD SOUTH, URMSTON
30/05/2025 | Water Supply | No Supply Planned |  |  | MANCHESTER ROAD, CARRINGTON
30/05/2025 | Water Supply | No Supply Unplanned | 30/05/2025 14:14:00 |  | CRAMPTON LANE, MANCHESTER ROAD, CARRINGTON
13/06/2025 | Leakage | Leak on Public |  |  | OVERDALE CRESCENT, URMSTON
17/06/2025 | Leakage | Leak on Public |  |  | VALE AVENUE, URMSTON
17/06/2025 | Water Supply | No Supply Planned |  |  | MANCHESTER ROAD, CARRINGTON
20/06/2025 | Water Supply | No Supply Unplanned | 20/06/2025 10:08:00 | 20/06/2025 10:30:00 | OVERDALE CRESCENT, URMSTON
28/06/2025 | Leakage | Leak on Public |  |  | CHASSEN AVENUE, URMSTON
02/07/2025 | Leakage | Leak on Public |  |  | GOLDSWORTHY ROAD, URMSTON
11/07/2025 | Leakage | Leak on Public |  |  | WOODSEND ROAD, URMSTON
15/07/2025 | Leakage | Leak on Public |  |  | GRANGE AVENUE, URMSTON
18/07/2025 | Leakage | Leak on Public |  |  | DERWENT ROAD, URMSTON
18/07/2025 | Leakage | Leak on Public |  |  | PENNY BRIDGE LANE, FLIXTON
20/07/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
21/07/2025 | Leakage | Leak on Public |  |  | KESWICK AVENUE, URMSTON
14/08/2025 | Leakage | Leak on Public |  |  | IRLAM ROAD, URMSTON
06/09/2025 | Leakage | Leak on Public |  |  | AMBLESIDE ROAD, URMSTON
20/09/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
21/09/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
22/09/2025 | Leakage | Leak on Public |  |  | WESTERN ROAD, URMSTON
22/09/2025 | Water Supply | No Supply Unplanned | 22/09/2025 15:33:00 | 24/09/2025 00:15:00 | FLIXTON ROAD, URMSTON
22/09/2025 | Water Quality | Discoloured Water |  |  | FLIXTON ROAD, URMSTON
22/09/2025 | Water Supply | No Supply Unplanned |  |  | WESTERN ROAD, URMSTON
22/09/2025 | Leakage | Leak on Public |  |  | IRLAM ROAD, URMSTON
22/09/2025 | Leakage | Leak on Public |  |  | CARRINGTON ROAD, URMSTON
23/09/2025 | Leakage | Leak on Public |  |  | CARRINGTON ROAD, URMSTON
24/09/2025 | Leakage | Leak on Public |  |  | LANSDOWNE ROAD NORTH, URMSTON
24/09/2025 | Leakage | Leak on Public |  |  | BROOK ROAD, URMSTON
25/09/2025 | Leakage | Leak on Public |  |  | ACKERS LANE, CARRINGTON
26/09/2025 | Leakage | Leak on Public |  |  | CARRINGTON ROAD, URMSTON
26/09/2025 | Leakage | Leak on Public |  |  | SHAWE VIEW, URMSTON
28/09/2025 | Leakage | Leak on Public |  |  | MERWELL ROAD, URMSTON
29/09/2025 | Leakage | Leak on Public |  |  | ACKERS LANE, CARRINGTON
06/10/2025 | Leakage | Leak on Public |  |  | ACKERS LANE, CARRINGTON
07/10/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
08/10/2025 | Leakage | Leak on Public |  |  | MERWELL ROAD, URMSTON
08/10/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
09/10/2025 | Water Supply | No Supply Unplanned | 09/10/2025 12:15:00 | 09/10/2025 12:30:00 | FLIXTON ROAD, URMSTON
09/10/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
09/10/2025 | Leakage | Leak on Public |  |  | ROTHIEMAY ROAD, URMSTON
09/10/2025 | Leakage | Leak on Public |  |  | ROTHIEMAY ROAD, URMSTON
13/10/2025 | Leakage | Leak on Public |  |  | SHAWE ROAD, FLIXTON
13/10/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
13/10/2025 | Leakage | Leak on Public |  |  | ACKERS LANE, CARRINGTON
14/10/2025 | Leakage | Leak on Public |  |  | HOLLY HOUSE DRIVE, URMSTON
14/10/2025 | Water Quality | Discoloured Water |  |  | HOLLY HOUSE DRIVE, URMSTON
14/10/2025 | Leakage | Leak on Public |  |  | MANCHESTER ROAD, CARRINGTON
15/10/2025 | Water Supply | No Supply Unplanned | 15/10/2025 10:50:00 | 15/10/2025 11:08:00 | SHAWE ROAD, FLIXTON
15/10/2025 | Leakage | Leak on Public |  |  | CARRINGTON ROAD, URMSTON
17/10/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
18/10/2025 | Leakage | Leak on Public |  |  | MANCHESTER ROAD, CARRINGTON
24/10/2025 | Water Supply | No Supply Planned |  |  | FLIXTON ROAD, URMSTON
27/10/2025 | Leakage | Leak on Public |  |  | MERWELL ROAD, URMSTON
11/11/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
02/12/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
10/12/2025 | Leakage | Leak on Public |  |  | AMBLESIDE ROAD, URMSTON
11/12/2025 | Water Supply | No Supply Unplanned | 11/12/2025 13:35:00 | 11/12/2025 15:10:00 | LANSDOWNE ROAD NORTH, URMSTON
11/12/2025 | Water Supply | No Supply Unplanned | 11/12/2025 23:08:00 | 13/12/2025 01:15:00 | FLIXTON ROAD, URMSTON
12/12/2025 | Water Supply | No Supply Unplanned |  |  | MANCHESTER ROAD, CARRINGTON
12/12/2025 | Water Quality | Discoloured Water |  |  | MANCHESTER ROAD, CARRINGTON
13/12/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
16/12/2025 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
05/01/2026 | Leakage | Leak on Public |  |  | FLIXTON ROAD, URMSTON
24/01/2026 | Leakage | Leak on Public |  |  | CARRINGTON ROAD, URMSTON
03/02/2026 | Leakage | Leak on Public |  |  | MILLFORD AVENUE, URMSTON
03/02/2026 | Leakage | Leak on Public |  |  | WHITEGATE PARK, URMSTON
27/02/2026 | Water Quality | Discoloured Water |  |  | ACKERS LANE, CARRINGTON
27/02/2026 | Leakage | Leak on Public |  |  | BOWFELL ROAD, URMSTON
05/03/2026 | Leakage | Leak on Public |  |  | WYNDCLIFF DRIVE, URMSTON
19/03/2026 | Leakage | Leak on Public |  |  | MANCHESTER ROAD, CARRINGTON
23/03/2026 | Leakage | Leak on Public |  |  | UPLANDS ROAD, URMSTON
15/04/2026 | Leakage | Leak on Public |  |  | MORRIS GROVE, URMSTON
05/05/2026 | Leakage | Leak on Public |  |  | HOLLY HOUSE DRIVE, URMSTON
18/05/2026 | Water Supply | No Supply Planned |  |  | ISHERWOOD ROAD, CARRINGTON
13/06/2026 | Leakage | Leak on Public |  |  | WOODSEND ROAD SOUTH, URMSTON
17/06/2026 | Leakage | Leak on Public |  |  | MAYPOLE CLOSE, CARRINGTON
17/06/2026 | Leakage | Leak on Public |  |  | WYNDCLIFF DRIVE, URMSTON
20/06/2026 | Leakage | Leak on Public |  |  | DEVON ROAD, URMSTON

## Tab 2
Status | Work Type | Location street | Created Date | Scheduled Start | Description
Completed | Repair Service | WOODSEND ROAD SOUTH, URMSTON | 2026-06-15 10:20 | 2026-06-18 07:43 | Gang to attend and dig on blue mark to locate the service and repair leak. Suspected leak on service but possibly the ferrule. 2X Valves to shut marked on INS if required.
Dispatched | Backfill | WOODSEND ROAD SOUTH, URMSTON | 2026-06-15 10:20 | 2026-06-23 12:20 | Gang to attend and dig on blue mark to locate the service and repair leak. Suspected leak on service but possibly the ferrule. 2X Valves to shut marked on INS if required.
Completed | Repack Valve | HOLLY HOUSE DRIVE, URMSTON | 2026-05-07 12:13 | 2026-05-12 05:59 | Gang to repack valve marked on footpath. Put on for leakage.
Completed | Backfill | HOLLY HOUSE DRIVE, URMSTON | 2026-05-07 12:13 | 2026-05-15 12:01 | Gang to repack valve marked on footpath. Put on for leakage.
Completed | Reinstatement | HOLLY HOUSE DRIVE, URMSTON | 2026-05-07 12:13 | 2026-05-15 17:24 | Gang to repack valve marked on footpath. Put on for leakage.
Completed | Site Clear | HOLLY HOUSE DRIVE, URMSTON | 2026-05-07 12:13 | 2026-05-18 08:33 | Gang to repack valve marked on footpath. Put on for leakage.
Completed | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2026-03-02 13:02 | 2026-04-23 13:44 | DPA: 294-03-PA-01 F/N: 46088138 No comms- please carry out maintenance- not controlling to flow profile.
Completed | Model Driven Investigation - ProCon | PARSONAGE ROAD, URMSTON | 2026-02-27 07:50 | 2026-03-04 23:17 | xxx & xxx to flush DMA due to discolouration contacts w/c 02/03/26
Completed | Model Driven Investigation - Support | PARSONAGE ROAD, URMSTON | 2026-02-27 07:50 | 2026-03-04 23:17 | xxx & xxx to flush DMA due to discolouration contacts w/c 02/03/27
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2025-12-13 06:49 | 2025-12-13 06:50 | Install new 10" under pressure clip and install new 4" valve in roadway - UU to shut and restore.
Completed | Major Service | 16, HOLLY HOUSE DRIVE, URMSTON | 2025-12-12 04:11 | 2025-12-12 12:25 | JOB RAISED ON THE BACK OF FLIXTON ROAD INCIDENT (10" MAINS BURST). REQUEST FROM INCIDENT TEAM FOR NMT TO BE ON SITE WHEN REZONE AND RECHARGE IS DONE TO MAKE SURE PMV CONTROLS AS IT SHOULD DO.
Completed | Backfill | LANSDOWNE ROAD NORTH, URMSTON | 2025-12-11 10:22 | 2025-12-14 12:34 | Leak on 6" CI main in footpath. Gang to repair same day.
Completed | Reinstatement | LANSDOWNE ROAD NORTH, URMSTON | 2025-12-11 10:22 | 2025-12-17 16:47 | Leak on 6" CI main in footpath. Gang to repair same day.
Completed | Repair Main 6-12" | LANSDOWNE ROAD NORTH, URMSTON | 2025-12-11 10:22 | 2025-12-11 13:08 | Leak on 6" CI main in footpath. Gang to repair same day.
Completed | Site Clear | LANSDOWNE ROAD NORTH, URMSTON | 2025-12-11 10:22 | 2025-12-18 16:56 | Leak on 6" CI main in footpath. Gang to repair same day.
Completed | Repair Main 6-12" | FLIXTON ROAD, URMSTON | 2025-12-09 16:22 | 2025-12-11 18:33 | Leak on 4" branch off the 10" main. Leak before the 4" branch valve. This feeds all the DMA 294-03, 294-05, 294-11 total 6,530 props. To be done after 23:00hrs 2 WNT's needed and Planned gang. OPP 414 ON BRANCH. TRANSCO ONSITE WITH TRAFFIC LIGHTS, IN THE BOUNDARY.
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2025-12-09 16:22 | 2025-12-12 08:46 | Leak on 4" branch off the 10" main. Leak before the 4" branch valve. This feeds all the DMA 294-03, 294-05, 294-11 total 6,530 props. To be done after 23:00hrs 2 WNT's needed and Planned gang. OPP 414 ON BRANCH. TRANSCO ONSITE WITH TRAFFIC LIGHTS, IN THE BOUNDARY.
Completed | Reinstatement | PARSONAGE ROAD, URMSTON | 2025-10-14 14:31 | 2025-10-15 11:47 | ***LEAKAGE*** Leaking service in tarmac footpath at entrance to driveway. Gang to repair service.Next day response required. Will need same day backfill
Completed | Reinstatement | PARSONAGE ROAD, URMSTON | 2025-10-14 14:30 | 2025-10-15 10:29 | ***LEAKAGE*** Leaking service in tarmac footpath at entrance to driveway. Gang to repair service.Next day response required. Will need same day backfill
Completed | Backfill | PARSONAGE ROAD, URMSTON | 2025-10-14 10:50 | 2025-10-14 12:40 | ***LEAKAGE*** Leaking service in tarmac footpath at entrance to driveway. Gang to repair service.Next day response required. Will need same day backfill
Completed | Site Clear | FLIXTON ROAD, FLIXTON | 2025-10-13 23:13 | 2025-10-31 11:39 | Gang to repack leaking valve, junction Ambleside Road and Flixton Road at side of Dominos, Agent to presite as on junction and close to traffic lights.
Completed | Reinstatement | FLIXTON ROAD, FLIXTON | 2025-10-13 23:13 | 2025-10-29 15:06 | Gang to repack leaking valve, junction Ambleside Road and Flixton Road at side of Dominos, Agent to presite as on junction and close to traffic lights.
Completed | Backfill | FLIXTON ROAD, FLIXTON | 2025-10-13 23:13 | 2025-10-29 09:25 | Gang to repack leaking valve, junction Ambleside Road and Flixton Road at side of Dominos, Agent to presite as on junction and close to traffic lights.
Completed | Repair Valve | FLIXTON ROAD, FLIXTON | 2025-10-13 23:13 | 2025-10-28 16:04 | Gang to repack leaking valve, junction Ambleside Road and Flixton Road at side of Dominos, Agent to presite as on junction and close to traffic lights.
Completed | Site Clear | FLIXTON ROAD, FLIXTON | 2025-10-13 22:48 | 2025-10-30 09:25 | Gang to replace leaking FH on 4" ac main outside prop FLIXTON ROAD, URMSTON M41 6QY. This is now a water showing job and cannot be capped off with hydrant cap. 2 valve shut. Agent to pre-site due to location busy road and parked cars.
Completed | Reinstatement | FLIXTON ROAD, FLIXTON | 2025-10-13 22:48 | 2025-10-28 11:33 | Gang to replace leaking FH on 4" ac main outside prop FLIXTON ROAD, URMSTON M41 6QY. This is now a water showing job and cannot be capped off with hydrant cap. 2 valve shut. Agent to pre-site due to location busy road and parked cars.
Completed | Backfill | FLIXTON ROAD, FLIXTON | 2025-10-13 22:48 | 2025-10-27 09:03 | Gang to replace leaking FH on 4" ac main outside prop FLIXTON ROAD, URMSTON M41 6QY. This is now a water showing job and cannot be capped off with hydrant cap. 2 valve shut. Agent to pre-site due to location busy road and parked cars.
Completed | Repair Main <6" | FLIXTON ROAD, FLIXTON | 2025-10-07 18:50 | 2025-10-09 19:19 | Leakage 25 gang to dig in footpath suspected leak on ferrule 4 inch AC. Water showing out of curb edge and good nose towards ferrule. Please attempt live. If shut required 2 valve shut v1 414 flixton road v2 10 holly house in grass verge area near zebra crossing both made accessible SLG required footpath closure agent to pre site due to main road Please inform customer of works at 402 as will need to move car any issues please contact xxx
Completed | Reinstatement | FLIXTON ROAD, FLIXTON | 2025-10-07 18:50 | 2025-10-15 11:00 | Leakage 25 gang to dig in footpath suspected leak on ferrule 4 inch AC. Water showing out of curb edge and good nose towards ferrule. Please attempt live. If shut required 2 valve shut v1 414 flixton road v2 10 holly house in grass verge area near zebra crossing both made accessible SLG required footpath closure agent to pre site due to main road Please inform customer of works at 402 as will need to move car any issues please contact xxx
Completed | Backfill | FLIXTON ROAD, FLIXTON | 2025-10-07 18:50 | 2025-10-13 08:53 | Leakage 25 gang to dig in footpath suspected leak on ferrule 4 inch AC. Water showing out of curb edge and good nose towards ferrule. Please attempt live. If shut required 2 valve shut v1 414 flixton road v2 10 holly house in grass verge area near zebra crossing both made accessible SLG required footpath closure agent to pre site due to main road Please inform customer of works at 402 as will need to move car any issues please contact xxx
Completed | Site Clear | FLIXTON ROAD, FLIXTON | 2025-10-07 18:50 | 2025-10-15 11:29 | Leakage 25 gang to dig in footpath suspected leak on ferrule 4 inch AC. Water showing out of curb edge and good nose towards ferrule. Please attempt live. If shut required 2 valve shut v1 414 flixton road v2 10 holly house in grass verge area near zebra crossing both made accessible SLG required footpath closure agent to pre site due to main road Please inform customer of works at 402 as will need to move car any issues please contact xxx
Completed | Site Clear | LANSDOWNE ROAD, URMSTON | 2025-10-07 12:55 | 2025-10-07 12:57 | Gang to repair leaking 10" AC main. Leak is spreading water onto road, Repair will require 2 way lights. Agent xxx aware.
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2025-10-06 14:14 | 2025-10-27 14:28 | Hi, Can you please raise a CD WO, for the attached approved repairs to the carriageway, footway, and verge, against repair order 2109669 Many thanks in advance xxx This wasn't excavated as such but more blown out due to the nature of the violent burst. I have lots of pictures of this at various stages of repair but too many to add without size violations
Completed | Backfill | FLIXTON ROAD, URMSTON | 2025-10-06 14:14 | 2025-10-27 14:22 | Hi, Can you please raise a CD WO, for the attached approved repairs to the carriageway, footway, and verge, against repair order 2109669 Many thanks in advance xxx This wasn't excavated as such but more blown out due to the nature of the violent burst. I have lots of pictures of this at various stages of repair but too many to add without size violations
Completed | Repair Private Supply | PARSONAGE ROAD, URMSTON | 2025-10-05 14:42 | 2025-10-05 18:13 | private plumber to repair leak on csp that feed prop xxx csp run into xxx garden this is flag cust has sing plf cust name is xxx mst at boundary control leak i have spoken to agent and plumber xxx on this advised cust on reinstatement plumber will do there best if cust to do it cust happy with this
Completed | No Supply Unplanned Investigation | PARSONAGE ROAD, URMSTON | 2025-10-05 11:12 | 2025-10-05 12:53 | PARSONAGE ROAD, URMSTON M41 6QN Customers association to problem location: lives there IC Number: IC-02194378 Notes: Customer calling to report no water within the property Logged the case and was not linked to any event. Checked AV and seen there is a LKOP issue and fix has been scheduled for 07/10/25. Had a sight call and seen the water is leaking in front of their property in the footpath. However customer said this is coming out from the end of the driveway of their neighbour at xxx. Went through GH. Since customer has no water at the moment raised an urgent investigation and informed the customer it will be investigated within 2 to 4 hours' time. Is customer registered for PS: No Customer Sentiment: Happy
Completed | Assist Leakage Staff - Nights | FLIXTON ROAD, FLIXTON | 2025-10-04 05:55 | 2025-10-13 02:30 | Night leakage to sound the junction of Flixton road and Ambelside rd Good noise on valve and hydrant. Correlation not conclusive on the 4" a/c possible just past the valve water coming in from higher up possible on the tee to Ambelside road Unable to to top sound due to construction traffic Marked on Gis location of problem area
Completed | Site Clear | FLIXTON ROAD, FLIXTON | 2025-10-02 10:15 | 2025-10-09 13:18 | R2M to attend to install under pressure collar - xxx aware.
Completed | Repair Main 6-12" | FLIXTON ROAD, FLIXTON | 2025-10-02 10:15 | 2025-10-02 11:42 | R2M to attend to install under pressure collar - xxx aware.
Completed | Reinstatement | FLIXTON ROAD, FLIXTON | 2025-10-02 10:15 | 2025-10-08 10:15 | R2M to attend to install under pressure collar - xxx aware.
Completed | Backfill | FLIXTON ROAD, FLIXTON | 2025-10-02 10:15 | 2025-10-06 12:36 | R2M to attend to install under pressure collar - xxx aware.
Completed | Reinstatement | FLIXTON ROAD, FLIXTON | 2025-09-29 08:50 | 2025-10-03 12:27 | Gang to repack leaking valve in junction Ambleside Road and Flixton Road at side of Dominos, Agent to presite as on junction and close to traffic lights.
Completed | Site Clear | FLIXTON ROAD, FLIXTON | 2025-09-29 08:50 | 2025-10-05 11:47 | Gang to repack leaking valve in junction Ambleside Road and Flixton Road at side of Dominos, Agent to presite as on junction and close to traffic lights.
Completed | Repack Valve | FLIXTON ROAD, FLIXTON | 2025-09-29 08:50 | 2025-10-02 14:45 | Gang to repack leaking valve in junction Ambleside Road and Flixton Road at side of Dominos, Agent to presite as on junction and close to traffic lights.
Completed | Reinstatement | LANSDOWNE ROAD, URMSTON | 2025-09-27 12:47 | 2025-10-04 08:52 | Gang to repair leaking 10" AC main. Leak is spreading water onto road, Repair will require 2 way lights. Agent xxx aware.
Completed | Major Service | HOLLY HOUSE DRIVE, URMSTON | 2025-09-26 14:59 | 2025-09-29 09:27 | Monday morning, high priority 1xPMV team for major PMV maintenance + 2WNT to assist
Completed | Repair Main 6-12" | FLIXTON ROAD, URMSTON | 2025-09-25 04:43 | 2025-09-25 09:51 | Leakage - Repair leak on 10" main in grass verge - Incident - 4hr response - Agent aware - xxx on-site to shut and restore.
Cannot Complete | Repair Main 6-12" | FLIXTON ROAD, URMSTON | 2025-09-24 18:15 | 2025-09-24 23:22 | Leakage - Repair leak on 10" main in grass verge - Incident - 4hr response - Agent aware - xxx on-site to shut and restore.
Completed | Backfill | FLIXTON ROAD, URMSTON | 2025-09-24 18:15 | 2025-10-03 10:41 | Leakage - Repair leak on 10" main in grass verge - Incident - 4hr response - Agent aware - xxx on-site to shut and restore.
Completed | Site Clear | HOLLY HOUSE DRIVE, URMSTON | 2025-09-24 15:45 | 2025-09-26 15:56 | Replace existing meter in chamber - xxx on-site to assist - 4hr response - Agent aware.
Completed | Site Clear | PARSONAGE ROAD, URMSTON | 2025-09-24 12:29 | 2025-10-15 13:15 | ***LEAKAGE*** Leaking service in tarmac footpath at entrance to driveway. Gang to repair service.Next day response required. Will need same day backfill
Completed | Backfill | PARSONAGE ROAD, URMSTON | 2025-09-24 12:29 | 2025-10-04 08:33 | ***LEAKAGE*** Leaking service in tarmac footpath at entrance to driveway. Gang to repair service.Next day response required. Will need same day backfill
Completed | Reinstatement | PARSONAGE ROAD, URMSTON | 2025-09-24 12:29 | 2025-10-12 10:33 | ***LEAKAGE*** Leaking service in tarmac footpath at entrance to driveway. Gang to repair service.Next day response required. Will need same day backfill
Completed | Repair Service | PARSONAGE ROAD, URMSTON | 2025-09-24 12:29 | 2025-09-25 10:16 | ***LEAKAGE*** Leaking service in tarmac footpath at entrance to driveway. Gang to repair service.Next day response required. Will need same day backfill
Completed | Major Service | FLIXTON ROAD, URMSTON | 2025-09-24 09:50 | 2025-09-24 11:16 | PMV team to major 294-03 PMV. PMV not controlling, ASV being used as break tank temporarily.
Completed | Reinstatement | LANSDOWNE ROAD, URMSTON | 2025-09-23 14:22 | 2025-10-05 10:47 | Gang to repair leaking 10" AC main. Leak is spreading water onto road, Repair will require 2 way lights. Agent xxx aware.
Completed | Major Service | FLIXTON ROAD, URMSTON | 2025-09-23 01:43 | 2025-09-23 09:37 | PMV team to major 294-03 PMV. PMV not controlling, ASV being used as break tank temporarily.
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2025-09-23 01:35 | 2025-10-16 14:14 | FAO xxx. Gang already onsite. Gang to repair 12" branch off of 36" main.
Completed | Repair Main 6-12" | FLIXTON ROAD, URMSTON | 2025-09-23 01:35 | 2025-09-23 02:50 | FAO xxx. Gang already onsite. Gang to repair 12" branch off of 36" main.
Cannot Complete | Reinstatement | LANSDOWNE ROAD, URMSTON | 2025-09-23 00:21 | 2025-09-27 12:46 | Gang to repair leaking 10" AC main. Leak is spreading water onto road, Repair will require 2 way lights. Agent xxx aware.
Completed | Site Clear | LANSDOWNE ROAD, URMSTON | 2025-09-23 00:21 | 2025-10-05 11:22 | Gang to repair leaking 10" AC main. Leak is spreading water onto road, Repair will require 2 way lights. Agent xxx aware.
Completed | Repair Main 6-12" | LANSDOWNE ROAD, URMSTON | 2025-09-23 00:21 | 2025-09-23 07:01 | Gang to repair leaking 10" AC main. Leak is spreading water onto road, Repair will require 2 way lights. Agent xxx aware.
Completed | Backfill | LANSDOWNE ROAD, URMSTON | 2025-09-23 00:21 | 2025-09-25 13:19 | Gang to repair leaking 10" AC main. Leak is spreading water onto road, Repair will require 2 way lights. Agent xxx aware.
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2025-09-21 13:53 | 2025-10-13 10:46 | 4 hour response, gang aware. Gang to repair leak on 27" CI main in footpath on Irlam Rd, junction Flixton Rd. 3 way TM required.
Completed | Repair Main >12" | FLIXTON ROAD, URMSTON | 2025-09-21 13:53 | 2025-09-21 15:40 | 4 hour response, gang aware. Gang to repair leak on 27" CI main in footpath on Irlam Rd, junction Flixton Rd. 3 way TM required.
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2025-09-08 06:55 | 2025-09-13 11:44 | good noise on stringer tap, suspect leak is on old stop tap that I am picking up with box locator in garden, gang to install stop tap in footpath marked up and if possible prove or repair leak
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2025-09-08 06:55 | 2025-09-14 09:50 | good noise on stringer tap, suspect leak is on old stop tap that I am picking up with box locator in garden, gang to install stop tap in footpath marked up and if possible prove or repair leak
Completed | Site Clear | AMBLESIDE ROAD, URMSTON | 2025-09-08 06:55 | 2025-09-16 10:01 | good noise on stringer tap, suspect leak is on old stop tap that I am picking up with box locator in garden, gang to install stop tap in footpath marked up and if possible prove or repair leak
Completed | Reinstatement | HOLLY HOUSE DRIVE, URMSTON | 2025-02-19 08:20 | 2025-02-20 11:30 | Gang to repair burst on 6" CI main located on Irlam Rd near junction with Marlborough Rd. Job is within 10m of bus stop so this may need to be closed. 5 valve shut but leak is now controlled by one valve which is located in the grass verge at the junction of Irlam Rd / Flixton Rd, marked blue with arrow. Even if leak is repaired live, please contact NT afterwards as all 5 valves will need to be reopened. 20m in main. For attending NT, valves to reopen: Main controlling valve on 6" in grass verge junction of Irlam Rd / Flixton Rd, valve in footpath on 100mm, valve not shown on plans on same side as burst beyond the bus stop, valve in junction of Irlam Rd / Marlborough Rd and finally valve at 41 Irlam Rd. Charge to hydrant at 37, this was parked on when raising work. All valves marked.
Completed | Reinstatement | HOLLY HOUSE DRIVE, URMSTON | 2025-02-18 18:34 | 2025-02-19 09:12 | Gang to repair burst on 6" CI main located on Irlam Rd near junction with Marlborough Rd. Job is within 10m of bus stop so this may need to be closed. 5 valve shut but leak is now controlled by one valve which is located in the grass verge at the junction of Irlam Rd / Flixton Rd, marked blue with arrow. Even if leak is repaired live, please contact NT afterwards as all 5 valves will need to be reopened. 20m in main. For attending NT, valves to reopen: Main controlling valve on 6" in grass verge junction of Irlam Rd / Flixton Rd, valve in footpath on 100mm, valve not shown on plans on same side as burst beyond the bus stop, valve in junction of Irlam Rd / Marlborough Rd and finally valve at 41 Irlam Rd. Charge to hydrant at 37, this was parked on when raising work. All valves marked.
Completed | Site Clear | HOLLY HOUSE DRIVE, URMSTON | 2025-02-18 04:58 | 2025-02-20 15:54 | Gang to repair burst on 6" CI main located on Irlam Rd near junction with Marlborough Rd. Job is within 10m of bus stop so this may need to be closed. 5 valve shut but leak is now controlled by one valve which is located in the grass verge at the junction of Irlam Rd / Flixton Rd, marked blue with arrow. Even if leak is repaired live, please contact NT afterwards as all 5 valves will need to be reopened. 20m in main. For attending NT, valves to reopen: Main controlling valve on 6" in grass verge junction of Irlam Rd / Flixton Rd, valve in footpath on 100mm, valve not shown on plans on same side as burst beyond the bus stop, valve in junction of Irlam Rd / Marlborough Rd and finally valve at xxx Irlam Rd. Charge to hydrant at xxx, this was parked on when raising work. All valves marked.
Completed | Repair Main 6-12" | HOLLY HOUSE DRIVE, URMSTON | 2025-02-18 04:58 | 2025-02-18 09:03 | Gang to repair burst on 6" CI main located on Irlam Rd near junction with Marlborough Rd. Job is within 10m of bus stop so this may need to be closed. 5 valve shut but leak is now controlled by one valve which is located in the grass verge at the junction of Irlam Rd / Flixton Rd, marked blue with arrow. Even if leak is repaired live, please contact NT afterwards as all 5 valves will need to be reopened. 20m in main. For attending NT, valves to reopen: Main controlling valve on 6" in grass verge junction of Irlam Rd / Flixton Rd, valve in footpath on 100mm, valve not shown on plans on same side as burst beyond the bus stop, valve in junction of Irlam Rd / Marlborough Rd and finally valve at xxx Irlam Rd. Charge to hydrant at xxx, this was parked on when raising work. All valves marked.
Completed | Backfill | HOLLY HOUSE DRIVE, URMSTON | 2025-02-18 04:58 | 2025-02-18 15:42 | Gang to repair burst on 6" CI main located on Irlam Rd near junction with Marlborough Rd. Job is within 10m of bus stop so this may need to be closed. 5 valve shut but leak is now controlled by one valve which is located in the grass verge at the junction of Irlam Rd / Flixton Rd, marked blue with arrow. Even if leak is repaired live, please contact NT afterwards as all 5 valves will need to be reopened. 20m in main. For attending NT, valves to reopen: Main controlling valve on 6" in grass verge junction of Irlam Rd / Flixton Rd, valve in footpath on 100mm, valve not shown on plans on same side as burst beyond the bus stop, valve in junction of Irlam Rd / Marlborough Rd and finally valve at xxx Irlam Rd. Charge to hydrant at xxx, this was parked on when raising work. All valves marked.
Completed | Reinstatement | HOLLY HOUSE DRIVE, URMSTON | 2025-02-18 04:58 | 2025-02-19 10:35 | Gang to repair burst on 6" CI main located on Irlam Rd near junction with Marlborough Rd. Job is within 10m of bus stop so this may need to be closed. 5 valve shut but leak is now controlled by one valve which is located in the grass verge at the junction of Irlam Rd / Flixton Rd, marked blue with arrow. Even if leak is repaired live, please contact NT afterwards as all 5 valves will need to be reopened. 20m in main. For attending NT, valves to reopen: Main controlling valve on 6" in grass verge junction of Irlam Rd / Flixton Rd, valve in footpath on 100mm, valve not shown on plans on same side as burst beyond the bus stop, valve in junction of Irlam Rd / Marlborough Rd and finally valve at xxx Irlam Rd. Charge to hydrant at xxx, this was parked on when raising work. All valves marked.
Completed | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2025-01-17 13:36 | 2025-03-10 12:39 | FN - 46088138 DPA - 294-03-PA-01 Controller replacement
Completed | No Supply Unplanned Investigation | FLIXTON ROAD, URMSTON | 2024-12-21 12:39 | 2024-12-21 16:05 | FLIXTON ROAD, URMSTON M41 6QY Customers association to problem location: IC Number: IC-01885837 Notes: Customer provided the ref. 06802408. Cust informed that their water disconnected from last Thursday 19/12/24 and was not operating since then. Went through the case and found that 2 inquiries made today 21/12 in the morning re. this. Accordingly Ann Maria sent an email to billing to chase this up intraday according to her notes. This came back saying she needs to go to water plus but WP should have liaised with our team on DEV services to get this sorted on Thursday 19th. I informed to the floor walkers and they have got authorisation from the On call section manager to go out of process, as Water plus is shut and developers services are shut to assist. No supply raised, called customer back to update. SA-3177781 Is customer registered for PS: No Customer Sentiment: Happy
Completed | Major Service | HOLLY HOUSE DRIVE, URMSTON | 2024-12-17 10:52 | 2025-01-21 09:24 | Job raised for NMT to perform major service on flixton rd PMV. TSO has confirmed that part 2 risk assessment has been completed and signed off. TM and UBU jobs will be raised and sent over to TSO via email.
Cannot Complete | Major Service | HOLLY HOUSE DRIVE, URMSTON | 2024-12-14 10:34 | 2024-12-17 09:27 | Job raised for NMT to perform major service on flixton rd PMV. TSO has confirmed that part 2 risk assessment has been completed and signed off. TM and UBU jobs will be raised and sent over to TSO via email.
Completed | Ww Reinstatement | FLIXTON ROAD, URMSTON | 2024-12-04 14:47 | 2024-12-17 10:52 | Further work raised due to defective pipework causing external flooding. SA-3127659. Civils to attend and carry out an excavation on the smaller RE located in front of the SVP, we suspect there may be a trap that is blocked with roots and is defective (this is located on the corner of Dominos Pizza shop). Please remove defective pipework/roots and pipe through. 100MM, VC, depth 0.5M and the surface is tarmac. Works located in the footpath which is wide enough to accommodate works and still allow access to MOPs. No customer contact required.
Completed | Ww Site Clear | FLIXTON ROAD, URMSTON | 2024-12-04 14:47 | 2024-12-17 10:29 | Further work raised due to defective pipework causing external flooding. SA-3127659. Civils to attend and carry out an excavation on the smaller RE located in front of the SVP, we suspect there may be a trap that is blocked with roots and is defective (this is located on the corner of Dominos Pizza shop). Please remove defective pipework/roots and pipe through. 100MM, VC, depth 0.5M and the surface is tarmac. Works located in the footpath which is wide enough to accommodate works and still allow access to MOPs. No customer contact required.
Completed | Ww Repair Sewer <2m dp | FLIXTON ROAD, URMSTON | 2024-12-04 14:47 | 2024-12-12 09:56 | Further work raised due to defective pipework causing external flooding. SA-3127659. Civils to attend and carry out an excavation on the smaller RE located in front of the SVP, we suspect there may be a trap that is blocked with roots and is defective (this is located on the corner of Dominos Pizza shop). Please remove defective pipework/roots and pipe through. 100MM, VC, depth 0.5M and the surface is tarmac. Works located in the footpath which is wide enough to accommodate works and still allow access to MOPs. No customer contact required.
Completed | Site Clear | PARSONAGE ROAD, URMSTON | 2024-11-28 11:42 | 2024-12-04 12:07 | gang to repair lk on 4 inch cast iron main opp xxx 4 valves if req all checked...will probably block drive so backfill asap
Completed | Reinstatement | PARSONAGE ROAD, URMSTON | 2024-11-28 11:42 | 2024-12-04 13:09 | gang to repair lk on 4 inch cast iron main opp xxx 4 valves if req all checked...will probably block drive so backfill asap
Completed | Backfill | PARSONAGE ROAD, URMSTON | 2024-11-28 11:42 | 2024-12-02 14:45 | gang to repair lk on 4 inch cast iron main opp xxx 4 valves if req all checked...will probably block drive so backfill asap
Completed | Repair Main <6" | PARSONAGE ROAD, URMSTON | 2024-11-28 11:42 | 2024-11-28 14:39 | gang to repair lk on 4 inch cast iron main opp xxx 4 valves if req all checked...will probably block drive so backfill asap
Completed | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2024-08-15 14:27 | 2024-08-26 14:02 | Please carry out a minor service and maintenance on the controller at Flixton Road PMV (294-03). Please check the controller as the inlet data is looking erratic. DPA 294-03-PA-01 PMV FN 46088138
Completed | Backfill | LANSDOWNE ROAD NORTH, URMSTON | 2024-07-23 16:22 | 2024-07-25 08:52 | GANG TO REPLACE DEF APTLAS REQ FOR LKOP NOT SHUTTING DOWN
Completed | Reinstatement | LANSDOWNE ROAD NORTH, URMSTON | 2024-07-23 16:22 | 2024-07-30 13:43 | GANG TO REPLACE DEF APTLAS REQ FOR LKOP NOT SHUTTING DOWN
Completed | Site Clear | LANSDOWNE ROAD NORTH, URMSTON | 2024-07-23 16:22 | 2024-07-31 15:31 | GANG TO REPLACE DEF APTLAS REQ FOR LKOP NOT SHUTTING DOWN
Completed | No Supply Unplanned Investigation | LANSDOWNE ROAD NORTH, URMSTON | 2024-07-13 16:56 | 2024-07-13 18:24 | LANSDOWNE ROAD NORTH, URMSTON M41 6QG Contacting on behalf of: Problem Location: LANSDOWNE ROAD NORTH, URMSTON M41 6QG Customers association to problem location: Reason for contact: cc as they have no supply at all in the property at all, did have a leak in the property and they turned it off outside from the MST as they can’t find an internal stop tap, cant turn it back on as MST is defective, they now have no supply at all in the property, raised no supply job IC Number: IC-01738315 SLA Given: 4 hours Related job/case numbers: Systems checked: guided helps Is customer registered for PS: no Customer happy?: yes
Cannot Complete | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2024-06-24 13:59 | 2024-08-15 13:37 | Please carry out a minor service and maintenance on the controller at Flixton Road PMV (294-03). Please check the controller as the inlet data is looking erratic. DPA 294-03-PA-01 PMV FN 46088138
Completed | Repair Service | FLIXTON ROAD, URMSTON | 2024-04-29 15:26 | 2024-05-01 06:07 | GANG TO REPAIR LK ON SERVICE ON OR NR MST MARKED ON FPATH
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2024-04-29 15:26 | 2024-05-03 12:33 | GANG TO REPAIR LK ON SERVICE ON OR NR MST MARKED ON FPATH
Completed | Backfill | FLIXTON ROAD, URMSTON | 2024-04-29 15:26 | 2024-05-02 14:18 | GANG TO REPAIR LK ON SERVICE ON OR NR MST MARKED ON FPATH
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2024-04-29 15:26 | 2024-05-05 07:09 | GANG TO REPAIR LK ON SERVICE ON OR NR MST MARKED ON FPATH
Completed | Minor Service | HOLLY HOUSE DRIVE, URMSTON | 2024-04-11 14:44 | 2024-05-06 18:44 | Please carry out a minor service on Flixton Road PMV and please check the pegasus controller, erratic flows showing so suspect pulse unit issue. DPA 294-03-PA-01 PMV FN 46088138
Cannot Complete | Minor Service | HOLLY HOUSE DRIVE, URMSTON | 2024-04-08 09:23 | 2024-04-11 13:51 | Please carry out a minor service on Flixton Road PMV and please check the pegasus controller, erratic flows showing so suspect pulse unit issue. DPA 294-03-PA-01 PMV FN 46088138
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2024-03-20 19:25 | 2024-03-22 11:15
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2024-03-04 13:51 | 2024-03-20 07:26
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2024-03-04 13:51 | 2024-03-20 07:21
Completed | Backfill | FLIXTON ROAD, URMSTON | 2024-03-04 13:51 | 2024-03-20 07:24
Completed | Site Clear | AMBLESIDE ROAD, URMSTON | 2023-11-06 14:14 | 2023-11-14 08:49 | ***Service Diversion*** Gang to divert copper service, 10 meters, around large tree to repair showing leak. raised on nwd response as agreed with TL and area agent. please pass to mark osbourne. Any issues onsite please call xxx or xxx.
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2023-11-06 14:14 | 2023-11-11 09:44 | ***Service Diversion*** Gang to divert copper service, 10 meters, around large tree to repair showing leak. raised on nwd response as agreed with TL and area agent. please pass to mark osbourne. Any issues onsite please call xxx or xxx.
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2023-11-06 13:09 | 2023-11-14 10:49 | Gang to dig in marked area WATER SHOWING in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx. Excavation Will Block customers Driveway Reinstatment ASAP
Completed | Site Clear | AMBLESIDE ROAD, URMSTON | 2023-11-06 12:09 | 2023-11-12 10:33 | Gang to chase leak on other side of large tree. Gang to dig in marked area WATER SHOWING in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx. Excavation Will Block customers Driveway Reinstatment ASAP
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2023-11-06 12:09 | 2023-11-11 09:26 | Gang to chase leak on other side of large tree. Gang to dig in marked area WATER SHOWING in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx. Excavation Will Block customers Driveway Reinstatment ASAP
Completed | Repair Service | AMBLESIDE ROAD, URMSTON | 2023-11-06 12:09 | 2023-11-06 12:53 | Gang to chase leak on other side of large tree. Gang to dig in marked area WATER SHOWING in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx. Excavation Will Block customers Driveway Reinstatment ASAP
Completed | Site Clear | AMBLESIDE ROAD, URMSTON | 2023-11-03 10:26 | 2023-11-13 10:37 | Gang to chase leak on other side of large tree. Gang to dig in marked area WATER SHOWING in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx. Excavation Will Block customers Driveway Reinstatment ASAP
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2023-11-03 10:26 | 2023-11-11 11:47 | Gang to chase leak on other side of large tree. Gang to dig in marked area WATER SHOWING in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx. Excavation Will Block customers Driveway Reinstatment ASAP
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2023-11-03 10:26 | 2023-11-11 09:28 | Gang to chase leak on other side of large tree. Gang to dig in marked area WATER SHOWING in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx. Excavation Will Block customers Driveway Reinstatment ASAP
Completed | Repair Service | AMBLESIDE ROAD, URMSTON | 2023-11-03 10:26 | 2023-11-06 08:27 | ** DUAL ATTENDANCE WITH LEAKAGE AND GANG** Gang to dig in marked area WATER SHOWING in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx. Excavation Will Block customers Driveway Reinstatment ASAP
Completed | Assist Leakage Staff - Days | AMBLESIDE ROAD, URMSTON | 2023-10-20 15:58 | 2023-11-03 09:40 | PASS BACK TO LEAKAGE Dug on mark no leak found further works required as water pushing in from roadway unable to extend due to car on drive
Completed | Site Clear | AMBLESIDE ROAD, URMSTON | 2023-10-19 14:06 | 2023-10-24 11:56 | Gang to dig in marked area in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx
Completed | Repair Service | AMBLESIDE ROAD, URMSTON | 2023-10-19 14:06 | 2023-10-20 14:09 | Gang to dig in marked area in footpath/grass verge and repair leaking stringer, please call xxx when onsite. live repair use live repair methods if possible. 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2023-10-10 18:46 | 2023-10-11 14:57 | Gang to Relay leaking service sprayed blue in tarmac Road/footpath o/s Ambleside rd. Live repair if possible 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2023-10-04 12:18 | 2023-10-11 14:29 | Gang to Relay leaking service sprayed blue in tarmac Road/footpath o/s Ambleside rd. Live repair if possible 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx
Completed | Site Clear | AMBLESIDE ROAD, URMSTON | 2023-10-04 12:18 | 2023-10-15 06:49 | Gang to Relay leaking service sprayed blue in tarmac Road/footpath o/s Ambleside rd. Live repair if possible 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2023-10-04 12:18 | 2023-10-11 12:56 | Gang to Relay leaking service sprayed blue in tarmac Road/footpath o/s Ambleside rd. Live repair if possible 2 valve shut if water needs to go off. valve 1 Ambleside rd Jcn Parsonage Rd. Valve 2 Ambleside Jcn landsdown rd north, if leak not located please call xxx
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2023-09-12 12:57 | 2023-09-15 14:11 | Gang to Replace stop tap sprayed blue in flagged footpath, tap is at a angle and inoperable need tap to prove leak
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2023-09-08 12:54 | 2023-09-12 12:51 | Gang to Replace stop tap sprayed blue in flagged footpath, tap is at a angle and inoperable need tap to prove leak
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2023-09-08 12:54 | 2023-09-13 13:12 | Gang to Replace stop tap sprayed blue in flagged footpath, tap is at a angle and inoperable need tap to prove leak
Completed | Site Clear | AMBLESIDE ROAD, URMSTON | 2023-09-08 12:54 | 2023-09-15 14:20 | Gang to Replace stop tap sprayed blue in flagged footpath, tap is at a angle and inoperable need tap to prove leak
Completed | Site Clear | HOLLY HOUSE DRIVE, URMSTON | 2023-08-09 21:14 | 2023-08-14 12:25 | gang to replace old mst with new one req for internal lk cant freeze
Completed | Backfill | HOLLY HOUSE DRIVE, URMSTON | 2023-08-09 21:14 | 2023-08-11 13:42 | gang to replace old mst with new one req for internal lk cant freeze
Completed | Reinstatement | HOLLY HOUSE DRIVE, URMSTON | 2023-08-09 21:14 | 2023-08-14 08:46 | gang to replace old mst with new one req for internal lk cant freeze
Completed | Repair Service | AMBLESIDE ROAD, URMSTON | 2023-08-09 16:25 | 2023-08-12 12:47 | Gang to Repair leaking service sprayed blue in Flagged footpath, good noise on tap slight top noise in marked area. customer saying they have poor pressure. live repair if possible 2 valve shut if required valves marked on gis. excavation will block customers driveway Dig and do if possible. if leak not located please call xxx
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2023-08-09 16:25 | 2023-08-14 14:24 | Gang to Repair leaking service sprayed blue in Flagged footpath, good noise on tap slight top noise in marked area. customer saying they have poor pressure. live repair if possible 2 valve shut if required valves marked on gis. excavation will block customers driveway Dig and do if possible. if leak not located please call xxx
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2023-08-09 16:25 | 2023-08-16 13:32 | Gang to Repair leaking service sprayed blue in Flagged footpath, good noise on tap slight top noise in marked area. customer saying they have poor pressure. live repair if possible 2 valve shut if required valves marked on gis. excavation will block customers driveway Dig and do if possible. if leak not located please call xxx
Completed | Site Clear | AMBLESIDE ROAD, URMSTON | 2023-08-09 16:25 | 2023-08-18 09:07 | Gang to Repair leaking service sprayed blue in Flagged footpath, good noise on tap slight top noise in marked area. customer saying they have poor pressure. live repair if possible 2 valve shut if required valves marked on gis. excavation will block customers driveway Dig and do if possible. if leak not located please call xxx
Completed | Repair Main <6" | FLIXTON ROAD, URMSTON | 2023-06-01 22:22 | 2023-06-02 02:13 | FAO - Scott Bennett 8HR RESPONSE - Gang to repair leaking 4" A/C main in grass verge. Cadent Gas have recently carried out repair to 36" gas main and are concerned about leak which has appeared this evening. Main has possibly damaged while been backfilled. 2 Valve shut off, Valves for shut off are not to plan, 46 Properties affected, x2 NT'S Required, long charge up. Please call xxx if any problems.
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2023-06-01 22:22 | 2023-06-07 08:23 | FAO - Scott Bennett 8HR RESPONSE - Gang to repair leaking 4" A/C main in grass verge. Cadent Gas have recently carried out repair to 36" gas main and are concerned about leak which has appeared this evening. Main has possibly damaged while been backfilled. 2 Valve shut off, Valves for shut off are not to plan, 46 Properties affected, x2 NT'S Required, long charge up. Please call xxx if any problems.
Completed | Site Clear | GRANGE AVENUE, URMSTON | 2023-04-03 12:54 | 2023-05-25 07:15
Completed | Reinstatement | GRANGE AVENUE, URMSTON | 2023-04-03 12:54 | 2023-05-25 06:58
Completed | Backfill | GRANGE AVENUE, URMSTON | 2023-04-03 12:54 | 2023-05-24 05:52
Completed | Reinstatement | GRANGE AVENUE, URMSTON | 2023-03-27 14:55 | 2023-03-28 11:03
Completed | Backfill | GRANGE AVENUE, URMSTON | 2023-03-27 14:54 | 2023-03-28 05:56
Completed | Reinstatement | GRANGE AVENUE, URMSTON | 2023-03-27 08:41 | 2023-03-27 07:37
Completed | Reinstatement | GRANGE AVENUE, URMSTON | 2023-03-26 10:32 | 2023-03-27 07:09
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2023-03-10 15:17 | 2023-05-12 07:41
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2023-03-10 15:17 | 2023-05-12 07:54
Completed | Backfill | FLIXTON ROAD, URMSTON | 2023-03-10 15:17 | 2023-05-11 11:52
Completed | Site Clear | GRANGE AVENUE, URMSTON | 2023-02-02 08:39 | 2023-03-27 11:49
Completed | Reinstatement | 7, GRANGE AVENUE, URMSTON | 2023-02-02 08:39 | 2023-03-11 01:57
Completed | Backfill | 7, GRANGE AVENUE, URMSTON | 2023-02-02 08:39 | 2023-03-24 03:48
Completed | Backfill | PARSONAGE ROAD/AMBLESIDE ROAD, URMSTON | 2022-11-10 12:50 | 2022-11-20 09:05 | Missing valve marked at junction Parsonage Road/Ambleside Road. Gang to locate missing buired valve marked. Gang to ring xxx when onsite.
Completed | Repair Valve | PARSONAGE ROAD/AMBLESIDE ROAD, URMSTON | 2022-11-10 12:50 | 2022-11-14 08:15 | Missing valve marked at junction Parsonage Road/Ambleside Road. Gang to locate missing buired valve marked. Gang to ring xxx when onsite.
Completed | Site Clear | PARSONAGE ROAD/AMBLESIDE ROAD, URMSTON | 2022-11-10 12:50 | 2022-11-20 11:56 | Missing valve marked at junction Parsonage Road/Ambleside Road. Gang to locate missing buired valve marked. Gang to ring xxx when onsite.
Completed | Reinstatement | PARSONAGE ROAD/AMBLESIDE ROAD, URMSTON | 2022-11-10 12:50 | 2022-11-22 11:33 | Missing valve marked at junction Parsonage Road/Ambleside Road. Gang to locate missing buired valve marked. Gang to ring xxx when onsite.
Completed | Site Clear | PARSONAGE ROAD, URMSTON | 2022-11-08 16:27 | 2022-11-16 07:14 | Leak on 4" CI main., in footpath. Unable to spray mark but scratched tarmac ant best surface sound. 4 valve shut off but 2 valves buried missing. Separate job raised for WNT to investigate.. Overshut will affect 100 props. Please carry out live repair if possible or request WNT assistance.
Completed | Reinstatement | PARSONAGE ROAD, URMSTON | 2022-11-08 16:27 | 2022-11-14 12:14 | Leak on 4" CI main., in footpath. Unable to spray mark but scratched tarmac ant best surface sound. 4 valve shut off but 2 valves buried missing. Separate job raised for WNT to investigate.. Overshut will affect 100 props. Please carry out live repair if possible or request WNT assistance.
Completed | Backfill | PARSONAGE ROAD, URMSTON | 2022-11-08 16:27 | 2022-11-11 09:03 | Leak on 4" CI main., in footpath. Unable to spray mark but scratched tarmac ant best surface sound. 4 valve shut off but 2 valves buried missing. Separate job raised for WNT to investigate.. Overshut will affect 100 props. Please carry out live repair if possible or request WNT assistance.
Completed | Repair Main <6" | PARSONAGE ROAD, URMSTON | 2022-11-08 16:27 | 2022-11-10 06:31 | Leak on 4" CI main., in footpath. Unable to spray mark but scratched tarmac ant best surface sound. 4 valve shut off but 2 valves buried missing. Separate job raised for WNT to investigate.. Overshut will affect 100 props. Please carry out live repair if possible or request WNT assistance.
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2022-05-15 09:30 | 2022-05-15 09:31 | Please dig in road in junction to rebuild buried valve chamber, 3 way chapter 8 will be required. Valve required for further leakage investigations. Any issues please call xxx
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2022-04-21 19:12 | 2022-05-15 11:56 | Please dig in road in junction to rebuild buried valve chamber, 3 way chapter 8 will be required. Valve required for further leakage investigations. Any issues please call xxx
Cannot Complete | Site Clear | FLIXTON ROAD, URMSTON | 2022-04-21 19:12 | 2022-05-15 09:29 | Please dig in road in junction to rebuild buried valve chamber, 3 way chapter 8 will be required. Valve required for further leakage investigations. Any issues please call xxx
Completed | Rebuild Chamber | FLIXTON ROAD, URMSTON | 2022-04-21 19:12 | 2022-05-11 23:58 | Please dig in road in junction to rebuild buried valve chamber, 3 way chapter 8 will be required. Valve required for further leakage investigations. Any issues please call xxx
Completed | Backfill | FLIXTON ROAD, URMSTON | 2022-04-21 19:12 | 2022-05-14 09:31 | Please dig in road in junction to rebuild buried valve chamber, 3 way chapter 8 will be required. Valve required for further leakage investigations. Any issues please call xxx
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2022-01-31 07:26 | 2022-01-31 15:33 | gang to repalce leaking atplas box marked up in footpath outside prop ....dig will block driveway so can we call customer with planned date for repair so car can be moved ...
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2022-01-31 07:25 | 2022-01-31 07:55 | gang to repalce leaking atplas box marked up in footpath outside prop ....dig will block driveway so can we call customer with planned date for repair so car can be moved ...
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2022-01-26 12:32 | 2022-01-28 11:03 | Gang are onsite to renew 2m shortsided service, Ambleside Road, Urmston, Manchester. To be repaired live. Located by xxx.
Completed | Site Clear | AMBLESIDE ROAD, URMSTON | 2022-01-25 14:29 | 2022-02-01 10:25 | gang to repalce leaking atplas box marked up in footpath outside prop ....dig will block driveway so can we call customer with planned date for repair so car can be moved ...
Completed | Reinstatement | AMBLESIDE ROAD, URMSTON | 2022-01-25 14:29 | 2022-01-28 12:31 | gang to repalce leaking atplas box marked up in footpath outside prop ....dig will block driveway so can we call customer with planned date for repair so car can be moved ...
Completed | Backfill | AMBLESIDE ROAD, URMSTON | 2022-01-25 14:29 | 2022-01-28 11:44 | gang to repalce leaking atplas box marked up in footpath outside prop ....dig will block driveway so can we call customer with planned date for repair so car can be moved ...
Completed | Minor Service | HOLLY HOUSE DRIVE, URMSTON | 2022-01-20 12:35 | 2022-02-10 09:19 | Please carry out minor service on Holly House Drive PMV (294-03). PMV profile looks erratic and changes across DMAs this feds have been impacted. Please also check the pegasus unit as the data looks erratic and not accurate. DMA 294-03-PA-01 PMV FN 46088138
Completed | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-12-08 14:34 | 2022-01-10 13:38 | Erratic data from pegasus controller on DMA 294-03 - fcn loc 48381780
Completed | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-12-08 13:34 | 2022-01-10 09:06 | Erratic data from pegasus controller on DMA 294-03 - fcn loc 48381780
Cannot Complete | Minor Service | HOLLY HOUSE DRIVE, URMSTON | 2021-11-02 14:39 | 2022-01-20 11:14 | Please carry out minor service on Holly House Drive PMV (294-03). PMV profile looks erratic and changes across DMAs this feds have been impacted. Please also check the pegasus unit as the data looks erratic and not accurate. DMA 294-03-PA-01 PMV FN 46088138
Cannot Complete | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-10-27 14:15 | 2021-12-08 12:44 | Erratic data from pegasus controller on DMA 294-03 - fcn loc 48381780
Cannot Complete | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-10-27 14:15 | 2021-12-08 12:40 | Erratic data from pegasus controller on DMA 294-03 - fcn loc 48381780
Cannot Complete | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-10-27 08:40 | 2021-10-27 14:12 | Erratic data from pegasus controller on DMA 294-03 - fcn loc 48381780
Cannot Complete | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-10-26 14:17 | 2021-10-27 13:36 | Erratic data from pegasus controller on DMA 294-03 - fcn loc 48381780
Cannot Complete | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-10-26 10:46 | 2021-10-27 13:35 | Erratic data from pegasus controller on DMA 294-03 - fcn loc 48381780
Completed | Backfill | FLIXTON ROAD, URMSTON | 2021-10-05 03:16 | 2021-10-21 09:03 | NP TO RENEW SERVICE AND STOP TAP SPRAY MARKED BLUE . FLIXTON ROAD ON THE CORNER OF ROTHIEMAY ROAD, M416QY.
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2021-10-05 03:16 | 2021-10-21 10:00 | NP TO RENEW SERVICE AND STOP TAP SPRAY MARKED BLUE . FLIXTON ROAD ON THE CORNER OF ROTHIEMAY ROAD, M416QY.
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2021-10-05 03:16 | 2021-10-21 09:58 | NP TO RENEW SERVICE AND STOP TAP SPRAY MARKED BLUE . FLIXTON ROAD ON THE CORNER OF ROTHIEMAY ROAD, M416QY.
Completed | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-06-18 11:35 | 2021-10-20 09:52
Completed | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-06-18 11:33 | 2021-10-20 09:53
Cannot Complete | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-06-15 09:26 | 2021-06-18 10:28
Cannot Complete | PMV Controller | HOLLY HOUSE DRIVE, URMSTON | 2021-06-14 10:06 | 2021-06-18 10:46
Completed | Site Clear | FLIXTON ROAD, FLIXTON, URMSTON | 2021-04-16 05:28 | 2021-05-12 09:40
Completed | Reinstatement | FLIXTON ROAD, FLIXTON, URMSTON | 2021-04-16 05:28 | 2021-05-12 07:31
Completed | Backfill | FLIXTON ROAD, FLIXTON, URMSTON | 2021-04-16 05:28 | 2021-05-10 10:14
Completed | Rebuild Chamber | FLIXTON ROAD, FLIXTON, URMSTON | 2021-04-16 05:28 | 2021-05-06 13:20
Completed | Site Clear | FLIXTON ROAD, FLIXTON, URMSTON | 2021-04-16 05:17 | 2021-04-23 14:04
Completed | Reinstatement | FLIXTON ROAD, FLIXTON, URMSTON | 2021-04-16 05:17 | 2021-04-23 08:43
Completed | Backfill | FLIXTON ROAD, FLIXTON, URMSTON | 2021-04-16 05:17 | 2021-04-22 11:30
Completed | Rebuild Chamber | FLIXTON ROAD, FLIXTON, URMSTON | 2021-04-16 05:17 | 2021-04-20 12:22
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2021-03-24 16:18 | 2021-03-26 10:14
Completed | Site Clear | FLIXTON ROAD, URMSTON | 2021-03-20 00:42 | 2021-03-26 11:32
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2021-03-20 00:42 | 2021-03-25 11:19
Completed | Backfill | FLIXTON ROAD, URMSTON | 2021-03-20 00:42 | 2021-03-24 14:29
Completed | Repair Main <6" | FLIXTON ROAD, URMSTON | 2021-03-20 00:42 | 2021-03-20 10:04 | Leak on 4" main. Partially excavated. Requires attention Saturday 20/3/21. 3valve shut off. 1xmiddle valve Flixton Rd / Ambleside Rd,1x branch valve Flixton Rd / Western Rd, 1x middle valve Flixton Rd / Rothiemay Rd. Flush main at hydrant at junction of Rothiemay Rd.
Completed | Reinstatement | FLIXTON ROAD, URMSTON | 2021-03-18 17:00 | 2021-03-25 10:32
Completed | Ww Site Clear | FLIXTON ROAD, URMSTON | 2021-03-18 16:49 | 2021-03-19 10:32
Completed | Ww Reinstatement | FLIXTON ROAD, URMSTON | 2021-03-18 16:47 | 2021-03-19 08:53
Cannot Complete | Reinstatement | FLIXTON ROAD, URMSTON | 2021-03-17 05:28 | 2021-03-18 16:55
Completed | Backfill | FLIXTON ROAD, URMSTON | 2021-03-17 05:28 | 2021-03-18 13:35
Completed | Repair Main <6" | FLIXTON ROAD, URMSTON | 2021-03-17 05:28 | 2021-03-17 14:59 | network partner to repair leaking 4" AC main spray marked blue on the pavement outside xxx Flixton road. water is showing coming in from the side of a previous repair excavation. 3 valve s needed for shut off all are on flixton road junc with Rothiemay road, Western road and Ambleside road.
Completed | Site Clear | HOLLY HOUSE DRIVE, URMSTON | 2020-09-03 10:16 | 2020-09-08 10:18
Completed | Backfill | HOLLY HOUSE DRIVE, URMSTON | 2020-09-03 10:16 | 2020-09-07 11:43
Completed | Reinstatement | HOLLY HOUSE DRIVE, URMSTON | 2020-09-03 10:16 | 2020-09-08 09:31
Completed | Repair Service | HOLLY HOUSE DRIVE, URMSTON | 2020-09-03 10:16 | 2020-09-03 14:18
Completed | Minor Service | HOLLY HOUSE DRIVE, URMSTON | 2019-10-27 08:43 | 2019-10-29 11:24 | CLONE OF SA-118590 OOH needed
Completed | Minor Service | HOLLY HOUSE DRIVE, URMSTON | 2019-10-27 08:40 | 2019-10-29 13:51 | OOH needed
Completed | Minor Service | HOLLY HOUSE DRIVE, URMSTON | 2019-10-15 08:28 | 2019-10-23 00:19 | Clone of SA-100908
Completed | Minor Service | HOLLY HOUSE DRIVE, URMSTON | 2019-10-15 08:09 | 2019-10-23 00:52 | OOH needed - authorised by xxx. xxx 16/10.